## Title
BAGMATI RIVER BASIN IMPROVEMENT PROJECT
ADDITIONAL FINANCING (BRBIP-AF)
Invitation for Bids No. : BRBIP-AF/01W/2019
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
Bill of Quantities

## BOQ Summary
BAGMATI RIVER BASIN IMPROVEMENT PROJECT
ADDITIONAL FINANCING (BRBIP-AF)
Name of Work: | Landscaping Improvement Works along Bagmati River Banks:
Location: | Uttar Gaya, Gokarna, Guheswori and Thapathali to Balkhu along Bagmati River
Contract No.: | BRBIP-AF/01W/2019
Summary of BOQ
Items |  |  | Amount (NRs.) | Remarks
Bill 1 | GENERAL REQUIREMENTS
Bill 2 | LANDSCAPING AT UTTAR GAYA
Bill 3 | LANDSCAPING AT GOKARNA
Bill 4 | LANDSCAPING AT GUHESWORI
Bill 5 | THAPATHALI TO BALKHU LANDSCAPING
Bill 6 | MISCELLANEOUS FACILITIES
Subtotal of Bills |  | (A)
Bill 7 - Day works |  | (B)
Specified Provisional (SP) Sums |  | (C ) | 36551000
Total of Bills plus Provisional Sums (D = A+B+C) |  | (D)
Value Added Tax (E = D x 13%) |  | (E)
TOTAL PRICE (F = D+E) |  | (F)

## Prov Sums
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
Specified Provisional Sums
SP Bill No. | Specified Provisional Sum Items | Amount (NRs.)
1 | Geotechnical investigations, tests etc. as instructed by the engineer | 1400000
2 | Insurance of works and contractors equipment(GCC 18.2) | 7000000
3 | Insurance against persons and damage to property (GCC 18.3) | 800000
4 | Insurance for clients consultants and contractors personel | 3100000
5 | Supply and install nepalese stone sculptures representing gods and goddess related to the holiness of the river | 3000000
6 | Cost of restoration of service infrastructure | 5000000
7 | Arch Bridge over Tukucha at Thapathali | 3500000
8 | Temporary Shelter Arrangement for School at Uttar Gaya | 1000000
9 | Item not covered by BOQ (as per COC) | 6000000
10 | Ressettlement/rehabilitation works | 1000000
11 | Electrical Works for Buildings (School Building, Toilets etc.) | 3198000
12 | Sanitary Works for Toilet Buildings | 1553000
| Total Specified Provisional Sum Items | 36551000

## 1 General
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 1 | GENERAL REQUIREMENTS
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1.1 | Mobilization and Demobilization of equipments and manpower required including other initial prepratory works for the work. | LS | 1
1.2 | Provide and install Signboards Refer to specifications - "Notice Boards" | No. | 3
1.3 | Prepare and submit monthly progress report with 30 color photographs (digital) to the satisfaction of engineer. | Months | 27
1.4 | Provide digital site videos of Initial Site condition (before construction) and after completion of construction works of the entire site with audio description having duration of at least 15 minutes. | No. | 2
1.5 | Laboratory with Engineers accomodation
1.5.1 | Provide fully furnished laboratory with all required equipment as per specification and instructed by Engineer. | LS | 1
1.5.2 | Maintain laboratory | Months | 27
1.5.3 | Lab Technician | Months | 27
1.5.4 | Lab helpers | Months | 54
Total of Bill 1:

## 7 Day works
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 7 : | DAY WORKS
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
Schedule of Day works Rates: 1 Labour
DW1.1 | Supervisor | hr | 500
DW1.2 | Labourer | hr | 2500
DW1.3 | Mason | hr | 1500
DW1.4 | Carpenter | hr | 500
DW1.5 | Steel fixer | hr | 500
DW1.6 | Vehicle driver (heavy) | hr | 500
DW1.7 | Vehicle driver (light/ medium) | hr | 500
DW1.8 | Plant Operator | hr | 500
Subtotal (DW1)
Schedule of Dayworks Rates: 2. Materials
DW2.1 | Cost of Materials from Supplier | Prov. Sum |  | 1000000 | One Million | 1000000
DW2.2 | Supplying machine made mechanically selvedged double twist Galvanized (heavy zinc coated) and PVC coated rectangular gabion boxes with mesh type 8cm X 10cm (mesh wire - 3.0mm, selvedge wire -3.9mm & lacing wire -2.4mm). | sq. m | 270
Subtotal (DW2)
Schedule of Dayworks Rates: 3. Constructional Plant
DW3.1 | Bulldozer (Tracked), D7 | hr | 250
DW3.2 | Hydraulic Excavator/Backhoe (up to 150 HP) | hr | 250
DW3.3 | Front End Wheeled Loader (1.2 cu.m) | hr | 250
DW3.4 | Tipper Truck (4 cu.m) | hr | 250
DW3.5 | Pneumatic Roller (up to 20 T) | hr | 250
DW3.6 | Hand Roller (up to 0.5 T) | hr | 250
DW3.7 | Grader | hr | 150
DW3.8 | Mobile crane (5 - 10 T) | hr | 150
DW3.9 | Generator (30 - 50 kVA) | hr | 250
DW3.10 | Truck with Water Sprinkler Tank | hr | 250
DW3.11 | Water Pump (7.5 HP) | hr | 250
DW3.12 | Other Plant (to be inserted by bidder) | hr
Subtotal (DW3)
DAYWORKS SUMMARY
Bill No. 7 | Item Description |  |  |  |  | Amount (NRs.)
DW1 | LABOUR
DW2 | MATERIALS
DW3 | CONSTRUCTIONAL PLANT
Total for DAY WORKS

## B-2 Summary
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
SUMMARY OF Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Amount (NRs.)
1 | GHATS
2 | PAVEMENT
3 | W2-WALL
4 | W6-STONE MASONRY WALL
5 | WEIR
6 | PLANTING
7 | DEMOLITION
8 | SCHOOL BUILDING
9 | TOILET FACILITIES
10 | PICNIC SATTAL
11 | CREMATION CENTRE
12 | CONSTRUCTION/ REHABLITATION OF SHADE-B (25m)
Total of Bill 2:

## BILL - 2
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1 | GHATS
1.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1966.5
1.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 1058.64
1.03 | Earthwork excavation under water in all soft and silty soil including water diversion, shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 264.66
1.04 | Earthworks in Backfilling with compaction to the required extent with all leads and lifts, all complete. | cum | 26.4
1.05 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 198.11
1.06 | Providing and placing machine mixed concrete M20 for the foundation, bhakari etc. including compaction, curing, testing and lead 30 m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 116.75
1.07 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 758.24
1.08 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 50.55
1.09 | P4-50 mm thick Stone Cladding on 25 mm thick mortar bedding on reinforced concrete stairs to all horizontal and vertical faces as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2256.3
1.1 | Providing and constructing Masonry Wall (bhakari) in 1:4 with 200 mm thick bevel shaped hand dressed circular stone as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 238.33
1.11 | Supplying machine made mechanically selvedged double twist Galvanized (heavy zinc coated) and PVC coated rectangular gabion boxes with mesh type 6cm X 8cm (mesh wire - 3.0mm, selvedge wire -3.9mm & lacing wire -2.4mm). | sqm | 579.6
1.12 | Filling of gabion boxes with approved stones. The rate shall include all materials, storage, double handling, machinery, labour, forming, transport, placing , leads and lifts. | cum | 126
1.13 | Providing and placing Plumb Concrete - 60% M15/40 Concrete and 40% boulder to protect each end of Ghat as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 90
Sub-Total (Bill 2 - 1)
2 | PAVEMENT
2.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1323.25
2.02 | Providing supplying and compacting 150mm thick Hard Core Material including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 198.49
2.03 | Providing and placing machine mixed concrete M10 for the footpath base including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 132.33
2.04 | P1-Footpath-50mm thick natural flag stone pavers in running bond pattern on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1323.25
2.05 | P6- chipping of Old Surface (concrete) and laying 50 mm thick natural flag stone on mortar bed of Existing Ghats as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1268.27
Sub-Total (Bill 2 - 2)
3 | W2-WALL
3.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 100
3.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 60
3.03 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 9
3.04 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 72
3.05 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 4.8
3.06 | Supplying and filling free draining material including compaction as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 42
3.07 | Supplying and fixing of 30mm thick natural stone for Vertical Cladding in 1:4 cement mortar including the clamping for anchorage as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 150
Sub-Total (Bill 2 - 3)
4 | W6-STONE MASONRY WALL
4.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 120
4.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 89.76
4.03 | Earthwork excavation under water in all soft and silty soil including water diversion, shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 22.44
4.04 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 36
4.05 | Concreting M20 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 60
4.06 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 4
4.07 | Rubble masonry works in 1:4 cement mortar including supply of hard stone blocks, preparing cement mortar and construction of wall up to 5m high as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 23.4
4.08 | Rubble masonry works in 1:4 cement mortar including preparing cement mortar and construction of wall up to 5m high with recovered stone from demolished wall at site as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 23.4
Sub-Total (Bill 2 - 4)
5 | WEIR
5.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 245
5.02 | Earthwork excavation under water in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 708.78
5.03 | Embankment for Diversion of Water its clearance all complete for the constructions of the Weir. | cum | 300
5.04 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 23.8
5.05 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 157.19
5.06 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 7.86
5.07 | Fixing Stone Masonry Cladding in Weir. The rate shall include all materials, storage, double handling, machinery, labour, forming, transport, placing , leads and lifts, all complete as per Design, Drawing, Specification and Instruction of Engineer. | cum | 96.47
Sub-Total (Bill 2 - 5)
6 | PLANTING
6.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 3218
6.02 | Turfing (Grass Sodding works including sod cutting, transporting, placing in position and water sprinkling for all leads and lifts) as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 3218
6.03 | Plantation Activities. The rate shall include cost of plant seedlings as below, cutting, transporting, site preparation, placing in position, fertilizer as required, compaction, watering and post-planting maintenance of the plant for 1 year as per instruction all complete.
6.03.1 | BS, Brugmansia (previously Datura) suaveolens; 3-4 ft. ht. | no | 15
6.03.2 | ES, Elaeocarpus sphaericus; 5-6 ft. ht. | no | 15
6.03.3 | Fb, Ficus benjamina; 5-6 ft. ht. | no | 5
6.03.4 | Li, Lagerstroemia indica; 4-6 ft. ht. | no | 19
6.03.5 | SC, Sambucus canadensis; 3-5 ft. ht. | no | 12
6.03.6 | Ep, Euphorbia pulcherrima; 3-4 ft. ht. | no | 49
6.03.7 | Hrs, Hibiscus rosa-sinensis; 3-4 ft. ht. | no | 1
6.03.8 | JH (Jasminum Humile); 4-5 ft. ht. | no | 49
Sub-Total (Bill 2 - 6)
7 | DEMOLITION & FORMWORK
7.01 | Demolition of Stone Masonry structures in river channel stacking properly reusable construction materials and disposal of unusable materials as per the instruction of the Engineer all complete. | cum | 30
7.02 | Demolition of existing old School Building at Uttar Gaya, stacking properly reusable construction materials and disposal of unusable materials as per the instruction of the Engineer all complete | sqm | 216
7.03 | Demolition of Old Cremation stacking properly reusable construction materials and disposal of unusable materials as per the instruction of the Engineer all complete | no | 1
7.04 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for Ghats, weirs, pavements, etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sqm | 2950
Sub-Total (Bill 2 - 7)

## UG-School bldg 2-8
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
8 | SCHOOL BUILDING
8.1 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 18
8.2 | BRICK WORK
8.2.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in Ground Floor as per design, drawing, specification and instruction all complete. | cum | 20.23
8.2.2 | Brick work with Traditional brick (small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar as per design, drawing, specification and instruction all complete. | sq.m | 530.11
8.2.3 | Chimney brick work in (1:1:2) lime, surkhi, sand mortar as per design, drawing, specification and instruction all complete | cum | 47.42
8.3 | CEMENT CONCRETE WORK
| Concreting M20 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per design, drawing, specification and instruction all complete | cum | 96.73
8.4 | REINFORCEMENT WORK
| TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per design, drawing, specification and instruction all complete | M.T. | 14.51
8.5 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for foundations, beams, colums, slabs, etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sq.m | 661.92
8.6 | WOOD WORK
8.6.1 | Supplying and fixing of D/W frame (Chaukosh) in the wall of the building 3 nos of M/S holdfast eachside of vertical wall frame fastening in to the wall providing 1:2:4 PCC work as per design, drawing, specification and instruction all complete | cum | 0.87
8.6.2 | 38 mm thick Sal wood Pannel Door Shutter with good finish including 3 Nos. of 10 cm hinge per leaf, 2 Nos. of 15 cm long approved quality tower bolts, 2 Nos. of approved quality handles, 1 No. M.S. hook bolt per leaf fixing on wooden frame and one set of Mortise Lock, as per design, drawing, specification and instruction all complete | sq.m | 40.27
8.6.3 | Making and fitting 4 mm thick glazed shutter in 38 mm * 75 mm sal wood frame for window with necessary all brass fittings as per design, drawing, specification and instruction all complete | sq.m | 101.37
8.6.4 | Supplying and Fixing Tundal (2.5'x3"x3") works as per design, drawing, specification and instruction all complete | No. | 100
8.6.5 | Window Carving (except lattice jali) excluding wood as per design, drawing, specification and instruction all complete | sq.m | 101.37
8.7 | FLOORING WORK :
8.7.1 | Providing and laying of single layer Flat Brick Soling with 1st class chimney made brick in foundation and flooring areas packing the joint with coarse sand upto the approved levels and line as per design, drawing, specification and instruction all complete | sq.m | 132.9
8.7.2 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | cum | 9.97
8.7.3 | Supplying and fitting high quality Porcelain tiles (non-sleepery) in (1:4) cement / sand mortar in Flooring Works of Verandah & Terrace as per design, drawing, specification and instruction all complete | sq.m | 134.84
8.7.4 | Telia Brick (Machine made) 8"X8" in (1:1:1) lime, surkhi,sand mortar with (1:1) lime surkhi pointing in Flooring works as per design, drawings, specification and instruction of the Engineer all complete. | sq.m | 248.2
8.7.5 | 35mm thick natural flag stone paving at stairs on cement sand mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sq.m | 23.28
8.7.6 | Supplying and fitting 4inch height high quality Porcelain tiles (non-sleepery) in (1:4) cement / sand mortar in Skirting Works as per design, drawing, specification and instruction all complete | m | 90.6
8.7.7 | 6inch height Telia Brick (Machin made) in (1:1:1) lime, surkhi,sand mortar with (1:1) lime surkhi pointing in Skirting works as per design, drawings, specification and instruction of the Engineer all complete. | m | 190.9
8.7.8 | 150mm height and 20mm thick natural flag stone paving at stairs on cement sand mortar in Skirting Works as per Design, Drawing, Specification and Instruction of Engineer all complete | m | 9.6
8.7.9 | Supplying and fixing machine made Clay Tile on slope roof as per design, drawing, specification and instruction all complete | sq.m | 201
8.8 | PLASTERING WORKS
8.8.1 | 12.5 mm thick (1:4) C/S Plaster in Ceiling including proper curing as per design, drawing, specification and instruction all complete | sq.m | 445.35
8.8.2 | 12.5 mm thick (1:2) Lime Surkhi Plaster on Wall including proper curing as per design, drawing, specification and instruction all complete | sq.m | 795.71
8.9 | PAINTING WORKS
8.9.1 | Two coats interior emulsion paint with one coat primer in new plastered surface inside building as per design, drawing, specification and instruction all complete | sq.m | 239.62
8.9.2 | Two coats of approved quality and colour ready made Enamel Paints over one coat of primer on doors and windows as per design, drawing, specification and instruction all complete | sq.m | 130.74
8.9.3 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sq.m | 530.11
8.1 | STEEL RAILING
8.10.1 | Supplying and fixing MS Railing (handrail + 6x6 mm solid MS square pipe) including painting at veranda all complete as per design, drawing, specification and instruction of Engineer. | rm | 53.9
8.10.2 | Supplying and fixing MS Railing (Baluster + handrail) including wooden handrail & painting all complete for stairs as per design, drawing, specification and instruction of Engineer. | rm | 13.5
8.10.3 | Providing and fixing Spiral Stair case of mild steel including painting as per design, drawing, specification and instruction all complete | nos | 2
8.11 | Demolition of required parts of school building, properly stacking of existing bricks and roofs etc., disposal of non-reusable waste as per design, drawing, specification and instruction all complete | job | 1
Sub-Total (Bill 2 - 8)

## UG-Toilet 2-9
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
9 | TOILET FACILITIES
9.1 | Site clearance and grubbing including off-site disposal of materials. | sq.m | 45
9.2 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 20
9.3 | BRICK WORK
9.3.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in ground floor | cum | 17.4
9.3.2 | Brick work with Traditional brick (small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar | sq.m | 5.69
9.4 | CEMENT CONCRETE WORK
| Concreting M20 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per drawing, specification and instruction all complete | cum | 20.06
9.5 | REINFORCEMENT WORK
| TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per drawing, design and instruction all complete | M.T. | 3.01
9.6 | FORM WORK
| Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for foundations, beams, colums, slabs, etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sq.m | 162.19
9.7 | FLOORING WORK :
9.7.1 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | cum | 4.25
9.7.2 | Supplying and fitting high quality Porcelain tiles (non-sleepery) in (1:4) cement / sand mortar in Flooring Works as per design, drawing, specification and instruction all complete | sq.m | 63.89
9.8 | PLASTERING WORKS
9.8.1 | 12.5 mm thick (1:4) C/S Plaster in Ceiling including proper curing as per specifiation and instruction all complete | sq.m | 63.89
9.8.2 | 12.5 mm thick (1:4) C/S Plaster on Wall including proper curing as per specifiation and instruction all complete | sq.m | 82.76
9.8.3 | 12.5 mm thick (1:2) Lime Surkhi Plaster on Wall including proper curing as per design, drawing, specification and instruction all complete | sq.m | 82.76
9.8.4 | Supplying and fitting high quality Porcelain glazed tiles in (1:4) cement / sand mortar in Wall as per design, drawing, specification and instruction all complete | sq.m | 82.76
9.9 | PAINTING WORKS
9.9.1 | Two coats interior emulsion paint with one coat primer in new plastered surface inside building as per design, drawing, specification and instruction all complete | sq.m | 146.65
9.9.2 | Two coats of approved quality and colour ready made Enamel Paints over one coat of primer on doors and windows as per design, drawing, specification and instruction all complete | sq.m | 72.69
9.9.3 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sq.m | 80.01
9.1 | ROOF Works
9.10.1 | Supplying and fixing Roof Tile on roof as per design, drawing, specification and instruction all complete | sq.m | 54.74
9.10.2 | Supplying and fixing Ridge Tile on roof as per design, drawing, specification and instruction all complete | m | 12
9.11 | WOOD WORK
9.11.1 | Nepali Sal Wood Work for Beam, Joist, Column etc. | cum | 1.68
9.11.2 | Wooden Column Highly Carving Works excluding wood | sq.m | 28.42
9.11.3 | Supplying and fixing of D/W Frame (Chaukosh) in the wall of the building 3 nos of M/S holdfast eachside of vertical wall frame fastening in to the wall providing 1:2:4 PCC work all complete per drawing, specification and insruction net. | cum | 0.7
9.12 | Doors/ Windows
9.12.1 | ALUMINIUM DOOR D2 (materials and installation as per drawings and specification all complete) | sq.m | 13.3
9.12.2 | 38 mm thick Shisau wood Pannel Door Shutter with good finish including 3 Nos. of 10 cm hinge per leaf, 2 Nos. of 15 cm long approved quality tower bolts, 2 Nos. of approved quality handles, 1 No. M.S. hook bolt per leaf fixing on wooden frame and one set of Mortise Lock, as per drawing, specification and instruction of engineer, all complete | sq.m | 7.56
9.12.3 | Making and fitting 4 mm thick glazed shutter in 38 mm * 75 mm sal wood frame for window with necessary all brass fittings as per design, drawing, specification and instruction all complete | sq.m | 12.87
9.13 | Providing and fixing Plastic Cylindrical Vertical over head storage tank of 2,000 lit. capacity as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 1
9.14 | Supplying and fixing MS Railing (handrail + 6x6 mm solid MS square pipe) including painting at veranda all complete as per design, drawing, specification and instruction of Engineer. | rm | 8.5
9.15 | Detail Design & Construction of 13,000 lit. capacity under ground RCC Rectangular Water Tank as Instruction of Engineer all complete | Job | 1
9.16 | Detail Design & Construction of 15,000 lit. capacity RCC Septik Tank as Instruction of Engineer all complete | Job | 1
9.17 | Detail Design & Construction of Brick Masonry Soak Pit including necessary connection as per Instruction of Engineer all complete | Job | 1
Sub-Total (Bill 2 - 9)

## UG-Picnic 2-10
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
10 | PICNIC SATTAL
10.1 | Site clearance and grubbing including off-site disposal of materials. | sq.m | 159.85
10.2 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 6.71
10.3 | BRICK WORK
10.3.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in ground floor | cum | 7.68
10.3.2 | Brick work with Traditional brick(small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar | sq.m | 184.98
10.4 | CEMENT CONCRETE WORK
| Concreting M20 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per drawing, specification and instruction all complete | cum | 68.37
10.5 | REINFORCEMENT WORK
| TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per drawing, design and instruction all complete | M.T. | 10.26
10.6 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for foundations, beams, colums, slabs, etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sq.m | 624.56
10.7 | FLOORING WORK :
10.7.1 | Providing and laying of single layer Flat Brick Soling with 1st class chimney made brick in foundation and flooring areas packing the joint with coarse sand upto the approved levels and line as per drawing specifications and instructions all complete. | sq.m | 159.85
10.7.2 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | cum | 11.99
10.7.3 | Telia Brick (Machine made) 8"X8" in (1:1:1) lime, surkhi,sand mortar with (1:1) lime surkhi pointing in Flooring works as per design, drawings, specification and instruction of the Engineer all complete. | sq.m | 143.35
10.7.4 | 6inch height Telia Brick (Machin made) in (1:1:1) lime, surkhi,sand mortar with (1:1) lime surkhi pointing in Skirting works as per design, drawings, specification and instruction of the Engineer all complete. | m | 50.13
10.7.5 | Supplying and fitting high quality Porcelain tiles (non-sleepery) in (1:4) cement / sand mortar in Flooring Works on Kitchen & Terrace as per design, drawing, specification and instruction all complete | sq.m | 176.35
10.7.6 | Supplying and fitting high quality Porcelain glazed tiles in (1:4) cement / sand mortar in Wall as per design, drawing, specification and instruction all complete | sq.m | 16.5
10.7.7 | 35mm thick natural flag stone paving at stairs on cement sand mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sq.m | 16.17
10.7.8 | 150mm height and 20mm thick natural flag stone paving at stairs on cement sand mortar in Skirting Works as per Design, Drawing, Specification and Instruction of Engineer all complete | m | 7.7
10.8 | PLASTERING WORKS
10.8.1 | 12.5 mm thick (1:2) Lime Surkhi Plaster on Wall including proper curing as per design, drawing, specification and instruction all complete | sq.m | 74.39
10.8.2 | 12.5 mm thick (1:4) C/S Plaster in Ceiling including proper curing as per design, drawing, specification and instruction all complete | sq.m | 159.85
10.8.3 | 12.5 mm thick (1:4) C/S Plaster on Wall including proper curing as per specifiation and instruction all complete | sq.m | 16.5
10.9 | PAINTING WORKS
10.9.1 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sq.m | 184.98
10.9.2 | Two coats interior emulsion paint with one coat primer in new plastered surface inside building as per design, drawing, specification and instruction all complete | sq.m | 176.35
10.1 | ROOF & TILES
10.10.1 | Supplying and fixing Clay Tile on slope roof as per design, drawing, specification and instruction all complete | sq.m | 67.6
Sub-Total (Bill 2 - 10)

## UG-Cremation 2-11
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
11 | CREMATION CENTRE
11.1 | Site clearance and grubbing including off-site disposal of materials. | sq.m | 65.61
11.2 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 16.65
11.3 | BRICK WORK
11.3.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in ground floor | cum | 3.48
11.3.2 | Brick work with Traditional brick (small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar | sq.m | 32.96
11.4 | CEMENT CONCRETE WORK
| Concreting M20 with proper mixing, placing, compaction including proper curing all complete | cum | 26.18
11.5 | REINFORCEMENT WORK
| TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per drawing, design and instruction all complete | M.T. | 0.37
11.6 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for foundations, beams, colums, slabs, etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sq.m | 223.34
11.7 | FLOORING WORK :
11.7.1 | Providing and laying of single layer Flat Brick Soling with 1st class chimney made brick in foundation and flooring areas packing the joint with coarse sand upto the approved levels and line as per drawing specifications and instructions all complete. | sq.m | 56.25
11.7.2 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | cum | 4.22
11.7.3 | 37.5mm thick Flagstone Paving in (1:4) cement / sand mortar for floor | sq.m | 56.25
11.8 | PLASTERING WORKS
11.8.1 | 12.5 mm thick (1:4) C/S Plaster in Ceiling including proper curing as per specifiation and instruction all complete | sq.m | 89.73
11.9 | PAINTING WORKS
11.9.1 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sq.m | 32.96
11.9.2 | Two coats exterior emulsion paint with one coat primer in new plastered surface outside building surface as per design, drawing, specification and instruction all complete | sq.m | 89.73
11.1 | ROOF
11.10.1 | Supplying and fixing Roof Tile on roof as per design, drawing, specification and instruction all complete | sq.m | 70.02
11.10.2 | Supplying and fixing Ridge Tile on roof as per design, drawing, specification and instruction all complete | m | 22
Sub-Total (Bill 2 - 11)

## UG- Shade 2-12
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 2 : | LANDSCAPING AT UTTAR GAYA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
12 | CONSTRUCTION/ REHABLITATION OF SHADE-B (25m)
12.1 | BRICK WORK
| Brick work with Traditional brick (small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar | sq.m | 77.88
12.2 | FLOORING WORK :
| 50mm thick Flagstone Paving in (1:4) cement / sand mortar for floor | sq.m | 103.32
12.3 | PLASTERING WORKS
| 12.5 mm thick (1:4) C/S Plaster on Wall including proper curing as per specifiation and instruction all complete | sq.m | 49.23
12.4 | PAINTING WORKS
a | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sq.m | 77.88
b | Two coats interior emulsion paint with one coat primer in new plastered surface outside building surface as per design, drawing, specification and instruction all complete | sq.m | 49.23
12.5 | ROOF
a | Supplying and fixing Roof Tile on roof as per design, drawing, specification and instruction all complete | sq.m | 164.92
b | Supplying and fixing Ridge Tile on roof as per design, drawing, specification and instruction all complete | m | 33.8
c | Supply and Fixing - Water Proof Ply + Wooden Batten and Perlin all complete as per design drawings, specification and instruction of Engineer. | sq.m | 164.92
Sub-Total (Bill 2 - 12)

## B-3 Summary
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
SUMMARY OF Bill 3 : LANDSCAPING AT GOKARNA
Item No. | Item Description | Amount (NRs.)
1 | GHATS
2 | PAVEMENT
3 | W1-BRICK WALL
4 | W3A-CONCRETE WALL
5 | W6-STONE MASONRY WALL
6 | PLANTING
7 | DEMOLITION
8 | NEW ARCH TYPE PEDESTRAIN RCC BRIDGE
9 | MISCELLANEOUS
Total of Bill 3:

## BILL-3
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 3 : LANDSCAPING AT GOKARNA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1 | GHATS
1.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1084.5
1.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 376.53
1.03 | Earthwork excavation under water in all soft and silty soil including water diversion, shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 94.13
1.04 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and lead 30m etc.as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 108.86
1.05 | Providing and placing machine mixed concrete M20 for the foundation, bhakari etc. including compaction, curing, testing and lead 30 m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 74.29
1.06 | Providing and placing machine mixed concrete M30 for structure including compaction, curing, lifts & leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 401.88
1.07 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 26.79
1.08 | P4-50 mm thick Stone Cladding on 25 mm thick mortar bedding on reinforced concrete stairs to all horizontal and vertical faces as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1186.47
1.09 | Providing and constructing Masonry Wall (bhakari) in 1:4 with 200 mm thick bevel shaped hand dressed circular stone as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 151.66
1.1 | Providing and placing Plumb Concrete - 60% M15/40 Concrete and 40% boulder to protect each end of Ghat as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 90
Sub-Total (Bill 3 - 1):
2 | PAVEMENT
2.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 4258.15
2.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 4879.16
2.03 | Providing supplying and compacting 150mm thick Hard Core Material including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 638.72
2.04 | Providing and placing machine mixed concrete M10 for the footpath base including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 479.09
2.05 | P1-Footpath-50mm thick natural stone pavers in running bond pattern on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2983.25
2.06 | P2-Cycle Track-75mm thick hexagonal interlocking pavers on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1022
2.07 | P3-Feature Area-Machine Made Brick Pavers in herringbone pattern with headercourse over on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 189
2.08 | P5-Road Shoulder-75mm concrete unit pavers on 25mm mortar bed and 100mm thick compacted sand bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 63.9
2.09 | P6-Paving same as P4-with chipping on Old Surface including Mortar Bed on Existing Ghats as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2737
2.1 | Concrete Kerb 150 x 300 x 600 mm including foundation and bedding as per Design, Drawing, Specification and Instruction of Engineer all complete | rm | 144
Sub-Total (Bill 3 - 2):
3 | W1-BRICK WALL
3.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 106.5
3.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 44.73
3.03 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and lead 30m etc.as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 14.2
3.04 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 35.78
3.05 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 2.39
3.06 | Machine Made Brick Masonry Works along with supplying bricks, Making cement sand mortar and construction of brick walls including haulage distance up to 30m with first class brick in (1:4) cement / sand mortar as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 23.95
3.07 | Supplying and fixing Railings as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 66.51
3.08 | Providing, Supplying and Laying 50mm thick Stone inclined Capping at Post of wall (W1) in 1:4 mortar as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 13.94
Sub-Total (Bill 3 - 3):
4 | W3A-CONCRETE WALL
4.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 232
4.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 116
4.03 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 48.72
4.04 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 3.25
4.05 | Providing, supplying and fixing 30mm thick Vertical Stone Cladding on concrete wall including required metal clampings as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 308.56
4.06 | Providing, supplying and fixing 50mm thick Stone Capping as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 116
4.07 | Providing, supplying and fixing Railing on concrete wall as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 116
Sub-Total (Bill 3 - 4):
5 | W6-STONE MASONRY WALL
5.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 555.43
5.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 1363.45
5.03 | Earthwork excavation under water in all soft and silty soil including water diversion, shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 340.86
5.05 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and lead 30m etc.as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 47.72
5.06 | Concreting M20 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 351.27
5.07 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 23.42
5.08 | Rubble masonry works in 1:4 cement mortar including supply of hard stone blocks, preparing cement mortar and construction of wall up to 5m high as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 604.3
5.09 | Rubble masonry works in 1:4 cement mortar including preparing cement mortar and construction of wall up to 5m high with recovered stone from demolished wall at site as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 604.3
5.1 | Supplying and Laying 250mm thick Gravel Filter in Backfill to Retaining Walls as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 108.65
5.11 | Supplying and Fixing Geotextile as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 434.59
5.12 | Supplying machine made mechanically selvedged double twist Galvanized (heavy zinc coated) and PVC coated rectangular gabion matresses with hexagonal mesh type 6cm X 8cm (mesh wire - 2.2mm, selvedge wire -2.7mm & lacing wire -2.2mm). | sqm | 4474
5.13 | Filling of gabion boxes with approved stones. The rate shall include all materials, storage, double handling, machinery, labour, forming, transport, placing , leads and lifts. | cum | 582.12
5.14 | Filling of gabion boxes with recovered stones. The rate shall include all materials, storage, double handling, machinery, labour, forming, transport, placing , leads and lifts. | cum | 64.68
Sub-Total (Bill 3 - 5):
6 | PLANTING
6.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1173.07
6.02 | Turfing (Grass Sodding works including sod cutting, transporting, placing in position and water sprinkling for all leads and lifts.) as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1173.07
6.03 | Plantation Activities. The rate shall include cost of plant seedlings as below, cutting, transporting, site preparation, placing in position, fertilizer as required, compaction, watering and post-planting maintenance of the plant for 1 year as per instruction all complete.
6.03.1 | BS, Brugmansia suaveolens; 3-4 ft. ht. | no | 12
6.03.2 | CV, Callistemon viminalis, 5-6 ft. ht. | no | 5
6.03.3 | ES, Elaeocarpus sphaericus; 5-6 ft. ht. | no | 4
6.03.4 | Fb, Ficus benjamina; 5-6 ft. ht. | no | 4
6.03.5 | JM, Jacaranda mimosifolia; 5-6 ft. ht. | no | 8
6.03.6 | Li, Lagerstroemia indica; 4-6 ft. ht. | no | 5
6.03.7 | SC, Sambucus canadensis; 3-5 ft. ht. | no | 6
6.03.8 | SB(salix babylonica); 4-6 ft. ht. | no | 9
Sub-Total (Bill 3 - 6):
7 | DEMOLITION
1 | Demolition of Existing Gabion Wall and stacking of stones properly | cum | 357.5
2 | Demolish Existing Toilet as per drawings and instruction | sqm | 45
3 | Demolish Existing Shattal as per drawings and instruction | no | 4
4 | Demolish of Old Cremation as per drawings and instruction | no | 2
5 | Remove Old Existing Pole as per drawings and instruction | no | 5
Sub-Total (Bill 3 - 7):

## GK - Bridge (Bill 3-8)
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 3 : LANDSCAPING AT GOKARNA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
8 | NEW ARCH TYPE PEDESTRAIN RCC BRIDGE
1 | Earthwork Excavation in foundation in all soil type including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 64
2 | Back filling in layers in foundation pits, trenches, etc, including all leads, lifts, compaction and watering as per design, specification and instruction of engineer all complete | cum | 16
3 | Back fill with graded filter materials in layer with necessary watering and compaction, all lead & lifts as per design, specification and instruction of engineer all complete | cum | 32
4 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing, lifts and leads etc. all complete as per specification and drawing. | cum | 3.2
5 | Providing and placing machine mixed concrete M30 for the abutment, pier, wall, super structure, deck slab, girder, etc, including compaction, curing, testing and all lead all complete as per specification and drawing. | cum | 14.35
6 | Rubble masonry works in 1:4 cement mortar including supply of hard stone blocks, preparing cement mortar and construction of abutment as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 37.5
7 | Providing, Preparing and Installing form work including necessary supports and removing after completion | sqm | 92
8 | Providing and assembling in position false work for the construction of RCC superstructure and removing after completion including design & drawings as per specification | sqm | 37.45
9 | 35mm thick natural flagstone pavers in running bond pattern on mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 31.8
10 | Providing and laying Reinforcement including cutting, bending, binding, fixing in position and lead 30m. etc. all complete as per specification and drawing. | ton | 10
11 | Supply and erection of steel railing pipe including railing post and accessories for the bridge barrier as per drawing | m | 10
Sub-Total (Bill 3 - 8):

## BILL- (3 -9)
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 3 : LANDSCAPING AT GOKARNA
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
9 | MISCELLANEOUS
9.1 | Gates
9.1.1 | Supplying and fixing Gates-2m wide as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 1
9.1.2 | Supplying and fixing Gates-4m wide as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 1
9.2 | Supplying, Providing and Fixing 0.5mm Thick CGI Sheet Roofing on existing bridge as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 129
9.3 | Supplying, Providing and Fixing Truss of Steel Pipe with Primer on existing bridge as per Design, Drawing, Specification and Instruction of Engineer all complete | kg | 500
9.4 | Supplying and fixing Railing at stair of existing bridge as per Design, Drawing, Specification and Instruction of Engineer all complete | rm | 20
9.5 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for Ghats, weirs, pavements, slabs, shear walls etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sqm | 3470
Sub-Total (Bill 3 - 9):

## B-4 Summary
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
SUMMARY OF Bill 4 : LANDSCAPING AT GUHESHWORI
Item No. | Item Description | Amount (NRs.)
1 | GHATS
2 | PAVEMENT
3 | PLANTING
4 | DEMOLITION & FORMWORKS
Total of Bill 4:

## BILL-4
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 4 : LANDSCAPING AT GUHESHWORI
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1 | GHATS
1.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 974.4
1.02 | Earthwork Excavation in foundation in all soil type including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 522.82
1.03 | Earthwork excavation under water in all soft and silty soil including water diversion, shoring, dewatering (if reqd.), handling for all lead and liftsas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 130.7
1.04 | Earthworks in Backfilling with compaction to the required extent with all leads and lifts including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 50
1.05 | Providing and placing machine mixed concrete M10 for the foundation and footing etc. including compaction, curing, testing and lead 30m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 106.74
1.06 | Providing and placing machine mixed concrete M20 for the foundation, bhakari etc. including compaction, curing, testing and lead 30 m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 435.14
1.07 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 585.47
1.08 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 39.03
1.09 | P4-50mm thick Stone Cladding on 25 mm thick mortar bedding on reinforced concrete stairs to all horizontal and vertical faces as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 4090.12
1.1 | Providing and constructing Masonry Wall (bhakari) in 1:4 with 200 mm thick bevel shaped hand dressed circular stone as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 779.98
Sub-Total (Bill 4 - 1):
2 | PAVEMENT
2.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1277
2.02 | Earthwork Excavation in foundation in river bank terraces and other areas in all soft and silty soil as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 200
2.03 | Earthworks in Backfilling with compaction to the required extent with all leads and lifts including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 50
2.04 | Providing and placing machine mixed concrete M10 for the footpath base including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 437.14
2.05 | P1-Footpath-50mm thick stone pavers in running bond pattern on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1277
2.06 | P2-Cycle Track-75mm thick hexagonal interlocking pavers on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2839
Sub-Total (Bill 4 - 2):
3 | PLANTING
3.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 5194
3.02 | Turfing (Grass Sodding works including sod cutting, transporting, placing in position and water sprinkling for all leads and lifts) as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 5194
3.03 | Plantation Activities. The rate shall include cost of plant seedlings as below, cutting, transporting, site preparation, placing in position, fertilizer as required, compaction, watering and post-planting maintenance of the plant for 1 year as per instruction all complete.
3.03.1 | JM (Jakaranda Mimosifolia) ; 5-6 ft. ht. | no | 34
3.03.2 | Fb (Ficus benjamina) ; 5-6 ft. ht. | no | 35
Sub-Total (Bill 4 - 3):
4 | Demolition
4.01 | Demolition of Existing Gabion including stacking of materials as instructed by Engineer | cum | 270.9
4.02 | Demolition of Existing Concrete (RCC) steps including cutting of reinforcements for constructing bhakari as per instruction of the Engineer all complete | cum | 20
4.03 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for Ghats, weirs, pavements, shear walls etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sqm | 3400
Sub-Total (Bill 4 - 4):

## B-5 Summary
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
SUMMARY OF Bill 5: LANDSCAPING FROM THAPATHALI TO BALKHU
Item No. | Item Description | Amount (NRs.)
1 | GHATS
2 | PAVEMENT
3 | W1-BRICK WALL
4 | W3A-CONCRETE WALL
5 | PLANTING
6 | MISCELLANEOUS
7 | DISMANTLE AND REPAIR
Total of Bill 5:

## BILL - 5
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 5: LANDSCAPING FROM THAPATHALI TO BALKHU
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1 | GHATS
1.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 8778
1.02 | Earthwork Excavation in foundation in all soil type including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 8699
1.03 | Earthworks in Backfilling with compaction to the required extent with all leads and lifts including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete. | cum | 983.7
1.04 | Providing and placing machine mixed concrete (M10) for the foundation and footing etc. including compaction, curing, testing and lead 30m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete. | cum | 860.11
1.05 | Providing and placing machine mixed concrete M20 for the foundation, bhakari etc. including compaction, curing, testing and lead 30 m etc. as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 233.49
1.06 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper machine mixing, placing, compaction & curing as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 3098
1.07 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | ton | 206.53
1.08 | P4-50mm thick Stone Cladding on 25 mm thick mortar bedding on reinforced concrete stairs to all horizontal and vertical faces as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 11945
1.09 | Providing and constructing Masonry Wall (bhakari) in 1:4 with 200 mm thick bevel shaped hand dressed circular stone as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 693
Sub-Total (Bill 5 - 1):
2 | PAVEMENT
2.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 30028
2.02 | Excavation of garbage for disposal to land fill site as per drawing and instruction of the engineer | cum | 117992
2.03 | Providing supplying and compacting 150mm thick Hard Core Material including Insitu and Laboratory Compaction Tests as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 4504.2
2.04 | Providing and placing machine mixed concrete M10 for the footpath base including compaction, curing, testing and all leads as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 3147
2.05 | P1-Footpath-50mm thick stone pavers in running bond pattern on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 18395
2.06 | P2-Cycle Track-75mm thick hexagonal interlocking pavers on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 8551
2.07 | P3-Feature Area-Machine Made Brick Pavers in herringbone pattern with headercourse over on 25mm mortar bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 845
2.08 | P5-Road Shoulder-75mm concrete unit pavers on 25mm mortar bed and 100mm thick compacted sand bed as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2237
2.09 | P6- chipping of Old Surface (concrete) and laying 50 mm thick natural flag stone on mortar bed of Existing Ghats as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1411
2.1 | Supplying and fixing Concrete Kerb 150 x 300 x 600 mm including foundation and bedding as per Design, Drawing, Specification and Instruction of Engineer all complete | rm | 1365
Sub-Total (Bill 5 - 2):
3 | W1-BRICK WALL
3.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 2877.75
3.02 | Earthwork Excavation in foundation in all soil type including shoring, dewatering (if reqd.), handling for all lead and lifts as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 1208.66
3.03 | Providing and placing machine mixed concrete (M10) for the foundation and footing etc. including compaction, curing, testing and lead 30m etc.as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 383.7
3.04 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per design, drawing, specification and instruction all complete | cum | 966.92
3.05 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per design, drawing, specification and instruction all complete | ton | 64.46
3.06 | Machine Made Brick Masonry Works along with supplying bricks, Making cement sand mortar and construction of brick walls including haulage distance up to 30m with first class brick in (1:4) cement / sand mortar as per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 647.03
3.07 | Supplying and fixing Railings as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 1797.3
3.08 | Providing, Supplying and Laying 50mm thick Stone inclined Capping at Post of wall (W1) in 1:4 mortar as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 376.79
Sub-Total (Bill 5 - 3):
4 | W3A-CONCRETE WALL
4.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 33.41
4.02 | Earthwork excavation in foundation in river bank terraces and other areas in all soft and silty soilas per Design, Drawing, Specification and Instruction of Engineer all complete | cum | 629.37
4.03 | Concreting M30 for structure including supplying of approved quality of cement, crushed stone aggregate, sand with proper mixing, placing, compaction & curing as per design, drawing, specification and instruction all complete | cum | 1198.2
4.04 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per design, drawing, specification and instruction all complete | ton | 1165.5
4.05 | Providing, supplying and fixing 30mm thick Vertical Stone Cladding on concrete wall including required metal clampings as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 6018.84
4.06 | Providing, supplying and fixing 50mm thick Stone Capping as per design, drawing, specification and instruction all complete | sqm | 2786.5
4.07 | Providing, supplying and fixing Railing on concrete wall as per design, drawing, specification and instruction all complete | sqm | 2786.5
Sub-Total (Bill 5 - 4):
5 | PLANTING
5.01 | Site clearance and grubbing including off-site disposal of materials as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 85613
5.02 | Turfing (Grass Sodding works including sod cutting, transporting, placing in position and water sprinkling for all leads and lifts.)as per Design, Drawing, Specification and Instruction of Engineer all complete | sqm | 85613
5.03 | Plantation Activities. The rate shall include cost of plant seedlings as below, cutting, transporting, site preparation, placing in position, fertilizer as required, compaction, watering and post-planting maintenance of the plant for 1 year as per instruction all complete.
5.03.1 | JM, Jacaranda mimosifolia; 5-6 ft. ht. | no | 58
5.03.2 | Fb, Ficus benjamina-swami; 5-6 ft. ht. | no | 74
5.03.3 | ES, Elaeocarpus sphaericus- Rudrasi; 5-6 ft. ht. | no | 69
5.03.4 | BS ( Brugmansia suaveolens-Dhatura); 3-4 ft. ht. | no | 69
5.03.5 | NA (Nyctnthes arbortristis) Parijaat; 3-4 ft. ht. | no | 20
5.03.6 | SB (Salix Babilonica, weeping willow-bains); 4-6 ft. ht. | no | 70
5.03.7 | Li (Lagerstroemia indica - asarephul); 4-6 ft. ht. | no | 71
5.03.8 | HC (Himalayan Cherry); 5-6 ft. ht. | no | 68
5.03.9 | PT (Pine Tree); 4-5 ft. ht. | no | 24
5.03.10 | Make Chautara with (DR) Delonix regia as per design, drawing, specification and instruction all complete | no | 3
5.03.11 | WE (Tikui); 4-5 ft. ht. | no | 24
5.03.12 | Shrub Mixture as per schedule; 3-4 ft. ht. | no | 1037
5.03.13 | Aquatic Plants | rm | 1088
5.03.14 | Climbers | rm | 1889
Sub-Total (Bill 5 - 5):
6 | Miscellaneous
6.01 | Gates
6.01.1 | Supplying and Fixing Gates-2m wide as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 1
6.01.2 | Supplying and Fixing Gates-3m wide as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 4
6.01.3 | Supplying and Fixing Gates-4m wide as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 15
6.01.4 | Supplying and Fixing Animal Barrier-Revolving Gate as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 19
Sub Total 6.01 (a)
6.02 | Water Body
6.02.1 | Execution of Deep Boring as per Design, Drawing, Specification and Instruction of Engineer all complete
A | Deep Boring Construction
i | Materials supply
1 | 200 mm dia ERW mild steel casing pipe of thickness 6-7 mm with socketed at one end and non threaded and plain at another end. | m | 84
2 | 200 mm dia. ERW mild steel black Slotted screen pipe of 6-7 mm thick with socketed at one end and non threaded and plain at another end. | m | 36
3 | 150 mm dia ERW mild steel casing pipe of thickness 5-6 mm with socketed at one end and non threaded and plain at another end. | m | 56
4 | 150 mm dia. ERW mild steel black perforated screen pipe of 5-6 mm thick with socketed at one end and non threaded and plain at another end. | m | 24
6 | Cashing shoe for 150 mm diameter MS Pipe | No. | 1
7 | 200 mm diameter 22 mm thick MS top cap with 200 mm dia 10 mm thick MS flange . | No. | 1
8 | Rubber packing in the overlap between 200 mm pipe and 150 mm pipe | No. | 1
Sub Total of (i)
ii | Execution of works
1 | Site preparation for drilling work | well | 1
2 | Drilling of pilot hole in soft formation upto 40 m from GL | m | 40
3 | Drilling of pilot hole in soft formation beyond 40 m from GL | m | 160
4 | Lowering of pipe assembly | m | 200
5 | Rubber packing in the overlap between 200 mm pipe and 150 mm pipe | job | 1
6 | Sealing of borehole first 2m with bentonite pellets and then 8 mm with bentonite-cement slurry | m | 10
Sub Total of (ii)
iii | Well Development
1 | Well development by Sumbersible pump | m | 200
2 | Well development by air compressor machine(72 Hr.) | hour | 1
3 | a) Pump test : Step drawdown test | hour | 24
| b) Contineous Pumping Test | hour | 12
4 | Submission of detail well report in three copy | No. | 1
Sub Total of (iii)
Sub-Total for 1 boring (iv =i+ii+iii)
Sub-Total of A: Cost for 2 boring (b =iv x 2)
B | Fittings & Electrical Equiments
1 | Supply, Installation, Testing & Commissioning of Deep Tube well vertical Submersible pump complete with motor cabling and all accessories (Confirming IS 9001) for 90m gross head and discharge capacity of 10-12 lps to pump water from bore well (tentative 20 HP Pump) as per pump specifications including all hardware, electrical and mechanical connections required to complete the work for operation. | No | 2
2 | Panel Board for Submersible pump including accessories and installations all complete | No | 2
3 | Surface Plate (28 mm thick MS plate) as per specification including installation all complete | Set | 2
4 | Standard bottom entry water pressure gauge, size 100 mm as per specification including installation all complete | Set | 2
5 | Pipe works including all accessories with approximately 70m riser pipe for one tube well (80mm dia mild steel or GI pipe with flange joints), including Fitting and fixing as per instruction, all complete. | m | 140
6 | Cast Steel Check (Non return) Valve of DN 150 mm Class 600 double flanged, including installation all complete | Set | 2
7 | DN 80 mm 24 mm thick MS flange including necessary acessories and installation all complete | Set | 10
8 | DN 80 mm, 2 mm thick compressed fiber flange gasket including installation all complete | Set | 10
9 | DN 150 mm GI Mechanical Coupling | No. | 8
10 | Armoured Copper Conductor - XLPE insulated | m | 120
11 | Flat PVC insulated submersible copper conductors (3 core), water and oil resistant, suitable for continuous immersion | m | 120
12 | Cable shoes, cable socket, PVC tape, Cable jointing material etc. as required for 2 sets pump installation | LS | 1
Sub total B (c)
C | 11 kVA distribution works for two deep doring along with two 25 kVA transformers
1 | Supply, Erection/Commisioning, and delivery (Transportation upto site, excavation of footing and erection of poles with all necessary accesories all complete set) of full galvanized steel tubular poles including top cap and base plate, required all accessories of full galvanized top and main cross arm channel, band for cross arm channel, clamps, nut bolts, washers, stay clamp, V-hanger etc), distribution transformers, HT and LT control, protection equipments etc. to the site all complete as per drawing and technical specifications.
1.1 | Galvanized steel tubular pole, 11 meter single poles with fittings and all accessories all complete. | No | 12
1.2 | Galvanized steel tubular pole, 11 meter H-type poles (without cross bracing) with fittings and all accessories all complete as per drawing. | set | 4
1.3 | Cross bracing angle, bracing plate non galvanized iron | kg | 150
1.4 | Full galvanized base plate and cover plate for pole | kg | 100
2 | Supply, Erection/Commisioning, and delivery (Transportation upto site), of ACSR conductors and, 11 kV pin insulator with spindle, 11 kV disc insulator, 11 kV stay insulator, stay set including its hardwares, line materials and Distribution transformer to the site all complete as per technical specification and drawing.
2.1 | 3 wire 11 KV line using 30 sq. mm ACSR conductor on 11 m high steel tubular pole with dead ended H-pole structure including jumper & binding works of the conductors all complete set. Also, including Stringing of conductor with proper tension using PG clamp and jointing sleeves binding. | 3 wire/ km | 0.6
2.2 | 11 kV pin insulator with spindle all complete. | set | 30
2.3 | 11 kV disc insulator with clamp all complete with installation. | set | 18
2.4 | 11 kV stay set with transportaion and installation. | set | 6
2.5 | 11 kV stay insulator with installation | No | 6
2.6 | Stay wire 7/12 SWG. | kg | 100
2.7 | Alu. jointing sleeves with installation. | No | 150
2.8 | PG aluminium clamp for conductor. | kg | 110
2.9 | Distribution transformer, three phase, 11/0.4 kV, 25 kVA as per specification. | Set | 2
2.1 | Cutout switch, 11 kV | Set | 2
2.11 | 11 kV Lightning Arrestor (3 Nos) | Set | 2
2.12 | 11/0.4 kV Dead End Transformer mounting structure as per drawing and specification. | Set | 2
2.13 | Earthing station with 60 mm X 60 mm X 6 mm copper plate with charcoal, salt etc. | set | 5
2.14 | Copper earthing strip, 40 mmX3 mm | m | 60
2.15 | LV Power cable, 3.5 core, 120 sq.mm. | m | 25
2.16 | Cable shoe, 120 sq. mm. | No | 12
2.17 | Cable shoe, 70 sq. mm. | No | 4
2.18 | TP MCCB, 250 A, 35 kA | No | 2
2.19 | Pole mounted Panel Board | No | 2
2.2 | NEA TOD meter in a suitable cabinet | Set | 2
Total Cost of 11 kVA distribution works for two deep boring along with two 25 kVA transformers (d)
6.03 | Providing and Fixing Plastic Cylindrical Vertical Overhead Storage Tank of 2,000 lit. capacity as per drawing, specification and instruction all complete (e) | no | 2
6.04 | Supplying and fixing Water Pump with Pump House as per Design, Drawing, Specification and Instruction of Engineer all complete (f) | sqm | 40
6.05 | Sandpit filling 300mm thick for Children Play Area as per Design, Drawing, Specification and Instruction of Engineer all complete (g) | cum | 150
6.06 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork for Ghats, weirs, pavements, slabs, shear walls etc including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. (h) | sqm | 11500
Sub-Total (Bill 5 - 6):(a+b+c+d+e+f+g+h)

## BILL - (5 - 7)
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 5: LANDSCAPING FROM THAPATHALI TO BALKHU
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
7 | DISMANTLE AND REPAIR
7.01 | Repair of Existing Flagstone Footpath | sqm | 100
7.02 | Repair of Old Ghat Steps | sqm | 100
7.03 | Repair of Existing Damaged Bhakari | no | 20
7.04 | Repair and reconstruct of 50mm thick Flastone Footpath near to Sukumbasi Area (Heritage walk) | sqm | 795
7.05 | Painting of Old Building or Old Wall near to our Project Area | sqm | 1000
7.06 | Existing Water Resource (Dhara) to be Demolished and Reconstruct as per Traditional Architectural Design, Drawing, Specification and Instruction of Engineer all complete. | no | 1
7.07 | Replace old small Metal Shade with new one as per drawing, specification and instruction all complete. | no | 2
7.08 | Demolition of Existing Stone Masonry upto required level | cum | 4408
7.09 | Demolition of Existing UN Boundary Wall -Demolition & Repair Plan Thapathali to Balkhu | cum | 398.48
7.1 | Dismantle of Triangular Metal Pipe Structure | no | 1
7.11 | Repair, render & paint existing arched wall & capping, Reconstruct brickwork where required | rm | 20
7.12 | Demolish existing toilet, buildings -Demolition & Repair Plan Thapathali to Balkhu | sqm | 600
7.13 | Removal of the Foothpath, Pavement, Walls and Iron Fence to expose Old Ghat steps without damaging Old Ghat Steps -Demolition & Repair Plan Thapathali to Balkhu (Sheet No. 12) | sqm | 394
7.14 | Repair all broken and damaged stone pavement with new stone paving at Teku Dovan-Demolition & Repair Plan Thapathali to Balkhu (Sheet No. 12) | sqm | 1083.5
7.15 | Existing Ghat & Bhakari to be retained and made good (Repair) -Demolition & Repair Plan Thapathali to Balkhu (Sheet No. 12) | sqm | 487.5
7.16 | Removal of the Foothpath, Pavement, Walls and Iron Fence to construct proposed ghats -Demolition & Repair Plan Thapathali to Balkhu (Sheet No. 12) | sqm | 360
7.17 | Demolish Existing Building at Balkhu-Demolition & Repair Plan Thapathali to Balkhu (Sheet No. 13) | no | 2
Sub-Total (Bill 5 - 8):

## B-6 Summary
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
SUMMARY OF Bill 6: MISCELLANEOUS FACILITIES
Item No. | Item Description | Amount (NRs.)
1 | TOILET BLOCKS
2 | NEW SHADES - A (13 Span Type)
3 | STANDALONE SOLAR STREET LAMPS
4 | SEATS & RUBBISH BINS
Total of Bill 6:

## M-Toilet-1
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 6: MISCELLANEOUS FACILITIES
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
1 | TOILET FACILITIES
1.1 | Site clearance and grubbing including off-site disposal of materials. | sqm | 60
1.2 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 11.45
1.3 | BRICK WORK
1.3.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in groung floor as per drawing, specification and instruction all complete | cum | 12.41
1.3.2 | Brick work with Traditional brick (small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar as per drawing, specification and instruction all complete | sqm | 44.6
1.4 | FLOORING WORK :
1.4.1 | Providing and laying of single layer Flat Brick Soling with 1st class chimney made brick in foundation and flooring areas packing the joint with coarse sand upto the approved levels and line as per drawing, specification and instruction all complete | sqm | 44.42
1.4.2 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | sqm | 3.33
1.5 | PLASTERING WORKS
1.5.1 | 12.5 mm thick (1:4) C/S Plaster on Wall including proper curing as per specifiation and instruction all complete | sqm | 104.06
1.5.2 | Porcelain Glazed Tile on Wall and Floor as per drawing, specification and instruction all complete | sqm | 134.43
1.6 | PAINTING WORKS
1.6.1 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sqm | 44.6
1.6.2 | Two coats interior emulsion paint with one coat primer in new plastered surface inside building as per design, drawing, specification and instruction all complete | sqm | 14.04
1.7 | ROOF
1.7.1 | Providing and laying Roof Tile as per drawing, specification and instruction all complete | sqm | 65.6
1.7.2 | Providing and laying Ridge Tile as per drawing, specification and instruction all complete | sqm | 18.8
1.7.3 | Water Proof Ply + Wooden Batten and Perlin as per drawing, specification and instruction all complete | sqm | 60
1.8 | WOOD WORK
1.8.1 | Supplying and fixing of D/W Frame (Chaukosh) in the wall of the building 3 nos of M/S holdfast eachside of vertical wall frame fastening in to the wall providing 1:2:4 PCC work as per drawing, specification and instruction all complete | cum | 0.4
1.9 | Door/ Window
1.9.1 | Supply and Installation of ALUMINIUM DOOR D2 as per drawings and instruction all complete | sqm | 6.7
1.9.2 | 38 mm thick Sal Wood Pannel Door Shutter with good finish including 3 Nos. of 10 cm hinge per leaf, 2 Nos. of 15 cm long approved quality tower bolts, 2 Nos. of approved quality handles, 1 No. M.S. hook bolt per leaf fixing on wooden frame and one set of Mortise Lock, as per drawing, specification and instruction of engineer, all complete | sqm | 3.78
1.9.3 | Providing and fixing GLAZZED WINDOW SHUTTER as per drawing, specification and instruction of engineer, all complete | sqm | 9.9
1.1 | SANITARY STORAGE
1.10.1 | Providing and fixing Plastic Cylindrical Vertical Over Head Storage Tank of 2,000 lit. capacity including necessary connections as per Design, Drawing, Specification and Instruction of Engineer all complete. | no | 2
1.10.2 | 13,000 lit. capacity Underground RCC Water Tank Construction including necessary connections as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 2
1.10.3 | 15,000 lit capacity RCC Septic Tank Construction as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 2
1.10.4 | Brick Masonry for Soak Pit Construction as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 2
SUB - TOTAL Cost for 1 Toilet block (A)
Sub-Total (Bill 6 - 1): (COST for 3 Toilet Blocks) = (3 x A)

## M-Shades (13m) -2
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 6: MISCELLANEOUS FACILITIES
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
2 | Construction of New SHADE-A (13m)
2.01 | Site clearance and grubbing including off-site disposal of materials. | sqm | 74.25
2.02 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | cum | 4.81
2.03 | BRICK WORK
2.03.1 | Brick masonry work with first class brick of chimney bhatta in (1:4) cement mortar in groung floor | cum | 8.26
2.03.2 | Brick work with Traditional brick(small Dachi Appa) work in (1:1:2) lime, surkhi, sand mortar | sqm | 60.32
2.04 | CEMENT CONCRETE WORK
| Concreting M20 with proper mixing, placing, compaction including proper curing all complete | cum | 19.9
2.05 | REINFORCEMENT WORK
| TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per drawing, design and instruction all complete | M.T. | 2.98
2.06 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | sqm | 163.52
2.07 | FLOORING WORK :
2.07.1 | Providing and laying of single layer Flat Brick Soling with 1st class chimney made brick in foundation and flooring areas packing the joint with coarse sand upto the approved levels and line as per drawing specifications and instructions all complete. | sqm | 52.89
2.07.2 | M15 Cement Concrete Floor Casting as per design, drawing, specification and instruction all complete | cum | 3.97
2.07.3 | 35mm thick Flagstone Paving in (1:4) cement / sand mortar for floor | sqm | 52.89
2.08 | PLASTERING WORKS
2.08.1 | 12.5 mm thick (1:4) C/S Plaster on Wall including proper curing as per specifiation and instruction all complete | sqm | 44.82
2.09 | PAINTING WORKS
2.09.1 | Two coat of Siltrate Painting on Brick Work surface with Traditional Brick as per design, drawing, specification and instruction all complete | sqm | 60.32
2.09.2 | Two coats interior emulsion paint with one coat primer in new plastered surface inside building as per design, drawing, specification and instruction all complete | sqm | 32.04
2.1 | ROOF
2.10.1 | Providing and laying Roof Tile as per drawing, specification and instruction all complete | sqm | 99.36
2.10.2 | Providing and laying Ridge Tile as per drawing, specification and instruction all complete | m | 21.7
2.10.3 | Supply and Fixing - Water Proof Ply + Wooden Batten and Perlin all complete as per design drawings, specification and instruction of Engineer. | sqm | 99.36
TOTAL COST for 1 New Shade of 13m
Sub-Total (Bill 6 - 2): (COST for 10 New Shades of 13m)

## M-Solar -3
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
BOQ
Bill 6: MISCELLANEOUS FACILITIES
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
3 | Supply & Installation of Standalone Solar Street Lamp
3.01 | Supply & installation of Solar PV Panel 250 Wp/12v all complete. | nos | 1
3.02 | Supply & Installation of Charge controller(MPPT) with dusk to down funtion, three stage dimming funtion 20A all complete. | nos | 1
3.03 | Supply & Installation of Lamp WLED 40 W all complete. | nos | 1
3.04 | Supply & Installation of Battery 12V ( Li ion, 80AH@c10 , 1800 cycle) with Battery Stand and Battery Box all complete
3.04.1 | Battery LiFePO4 (80AH@c10,1800 cycle) | nos | 1
3.04.2 | Battery Stand & Box | nos | 1
Total cost of item 4
3.05 | Supply & Installation of 8m Hot Deep Galvanized Pole with Diameter of Pole section minimum - 180mm at bottom and 80mm at top with Ms Arm and SPV Mounting Frame all complete.
3.05.1 | Supply and Installation of 8m height pole (Single Pole) | nos | 1
3.05.2 | Supply and Installation of MS Light arm | set | 1
3.05.3 | Supply and Installation of SPV Mounting Frame | set | 1
Total cost of item 5
3.06 | Interconnecting wires and other accessories (nut,Bolt & Anchorage bar) including installation all complete. | LS | 1
3.07 | Earthing with minimum one meter copper wire | LS | 1
3.08 | Civil Works of foundation for the installation of solar street ligtht specified as per in drawing
3.08.1 | Earthwork excavation in foundation in all soft and silty soil for all lead and lifts all complete. | m3 | 0.5
3.08.2 | Providing and placing machine mixed cement concrete (M20) for the foundation and footing etc. including compaction, curing, testing and lead 30m. etc. all complete as per specification and Drawing | m3 | 0.4
3.08.3 | Providing, placing, fixing centering and shuttering of Plywood or Steel Formwork including nails, propping supports and removal of the same for all leads and lifts all complete as per drawings, specifications and instruction of the Engineer. | m2 | 5.6
3.08.4 | Single Layer Flat brick soling work | m2 | 0.4
3.08.5 | TMT Steel Reinforcement Bar of Fe 500 grade including supplying, straightening, cleaning, cutting, bending, binding and fixing in position with annealed tying binding wire as per Design, Drawing, Specification and Instruction of Engineer all complete | MT | 0.02
Total Cost of item 8
II | Operation and Maintenance during DLP
1 | Operation and maintenance Cost of 1 Street Light (Solar PV Module must be cleaned regularly each month ) | monthly | 12
Total Cost for 1 Standalone Solar Street Lamps
Sub-Total (Bill 6 - 3): (COST for 320 Nos. of Standalone Solar Street Lamps)

## M- Seat & bins -4
Bagmati River Basin Improvement Project - Additional Financing (BRBIP-AF)
Landscaping Improvement Works along Bagmati River Banks: Uttargaya, Gokarna, Guheshwori & Thapathali to Balkhu
BOQ
Bill 6: MISCELLANEOUS FACILITIES
Item No. | Item Description | Unit | Quantity | Bidder's Rate (NRs.) |  | Amount (NRs.)
|  |  |  | In Figure | In words
4 | SEATS & RUBBISH BINS
4.01 | Provision and Installation of Seats as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 95
4.02 | Supplying and placing Rubbish Bins as per Design, Drawing, Specification and Instruction of Engineer all complete | no | 60
Sub-Total (Bill 6 - 4):